## Slide 1: 2022.08.05

## Slide 2: 報告内容
今回の内容
✓実機でのデータ計測

## Slide 3: テスト信号の測定結果
✓テスト信号の開始１secは無音区間に設定 → 無音区間中にトリガが落ち, 所望の測定区間を正しく測定できている。 ✓立上り後数周期が波形が乱れるため, 5周期目から計測信号に使用
テスト信号(測定前)
測定後
無音区間

## Slide 4: テスト信号の考察
✓テスト信号の考察を行う
→ 三種類のテスト信号を作成
✓ それぞれのテスト信号を３種類のアンプで検討
✓ 測定トリガはテスト信号再生のタイミング
テスト信号 ①
テスト信号 ➁
テスト信号 ③

## Slide 5: テスト信号の考察 テスト信号①
Amp_A
Amp_B
Amp_C
✓全てのアンプで同様のズレを確認 → アナライザの測定開始タイミング？ → アナライザの追従性能？

## Slide 6: テスト信号の考察 テスト信号➁
Amp_A
Amp_B
Amp_C
✓全てのアンプで同様のズレを確認 → アナライザの測定開始タイミング？ → アナライザの追従性能？

## Slide 7: テスト信号の考察 テスト信号③
Amp_A
Amp_B
Amp_C
✓全てのアンプで同様のズレを確認 → アナライザの測定開始タイミング？ → アナライザの追従性能？

## Slide 8: 使用するテスト信号
✓テスト信号の波形立上りから、５周期後をテスト信号として使用
✓ はじめの区間は信号を０に設定 → 測定開始点のズレ対策
５周期
測定区間

## Slide 9: 測定パターン
✓ 電源パターン
パターン①：各測定系の電源を分離 パターン➁：各測定系の電源を同一に
✓ 音量パターン
小, 中, 大 の3種類の音量パターンで計測
✓周波数
10, 500, 1k, 10k, 20k Hz の５種類のパターンで計測

## Slide 10: 測定系 パターン①
Commercial Power Supply
(Japan, AC100V, 50Hz)
AC Regulated Power Supply 2
(NF EC1000S)
PC
Audio Amplifier
2-wire AC100V 60Hz
3-wire AC100V 60Hz
Audio Analyzer
(Audio Precision Apx525)
USB
Dummy load
(Japan Audio DL-88A)
Analog Out
Speaker Out
Monitor
AC Regulated Power Supply 3
(NF EC1000S)
2-wire AC100V 60Hz
AC Regulated Power Supply 1
(CSE RG-100)
2-wire AC100V 60Hz

## Slide 11: 測定系 パターン➁
AC Regulated Power Supply 2
(NF EC1000S)
PC
Audio Amplifier
3-wire AC100V 60Hz
3-wire AC100V 60Hz
Audio Analyzer
(Audio Precision Apx525)
USB
Dummy load
(Japan Audio DL-88A)
Analog Out
Speaker Out
Monitor
3-wire AC100V 60Hz
2-wire AC100V 60Hz

## Slide 12: 今後の予定
✓計測 ✓差分スペクトルの分析